LAMPIRAN

Lampiran 1. Kondisi analisis GC-MS

Method

[Comment]

===== Analytical Line 1 =====

[AOC-20i+s]

# of Rinses with Presolvent :3

# of Rinses with Solvent(post) :5

# of Rinses with Sample :2

Plunger Speed(Suction) :High

Viscosity Comp. Time :0.2 sec

Plunger Speed(Injection) :High

Syringe Insertion Speed :High

Injection Mode :Normal

Pumping Times :5

Inj. Port Dwell Time :0.3 sec

Terminal Air Gap :No

Plunger Washing Speed :High

Washing Volume :8uL

Syringe Suction Position :0.0 mm

Syringe Injection Position :0.0 mm

Solvent Selection :only A

[GC-2010]

Column Oven Temp. :80.0 °C

Injection Temp. :280.00 °C

Injection Mode :Split

Flow Control Mode :Pressure

Pressure :80.0 kPa

Total Flow :300.5 mL/min

Column Flow :1.19 mL/min

Linear Velocity :40.1 cm/sec

Purge Flow :3.0 mL/min

Split Ratio :250.0

High Pressure Injection :OFF

Carrier Gas Saver :OFF

Splitter Hold :OFF

Oven Temp. Program

Rate Temperature(°C) Hold Time(min)

- 80.0 5.00

20.00 250.0 2.00

< Ready Check Heat Unit >

Column Oven : Yes

SPL1 : Yes

MS : Yes

< Ready Check Detector(FTD) >

< Ready Check Baseline Drift >

< Ready Check Injection Flow >

SPL1 Carrier : Yes

SPL1 Purge : Yes

< Ready Check APC Flow >

< Ready Check Detector APC Flow >

External Wait :No

Equilibrium Time :3.0 min

[GC Program]

[GCMS-QP2010 Ultra]

IonSourceTemp :200.00 °C

Interface Temp. :300.00 °C

Solvent Cut Time :1.00 min

Detector Gain Mode :Absolute

Detector Gain :0.80 kV

Threshold :0

[MS Table]

--Group 1 - Event 1--

Start Time :1.50min

End Time :15.00min

ACQ Mode :Scan

Event Time :0.30sec

Scan Speed : 625

Start m/z :70.00

End m/z :250.00

Sample Inlet

Lampiran 3. Perhitungan

- Susut pengeringan

Berat Basah = 200 gram

Berat Kering = 20,7873 gram

Fuli 	 = Berat KeringBerat Basah x 100 %

= 20,7873200 x 100 %

= 10,03937 %

- Rendemen

Volume minyak atsiri 	= 6,6 mL

Berat 			= 7,1247 gram

Rendemen 		= berat minyakberat fully basah x 100 %

= 7.1247200 x 100 %

= 3.56 %

Lampiran 4.Hasil Uji Biokimia

Ecschericia coli

Stapylococus aureus

Lampiran 5. Hasil Uji Dilusi

Bakteri Ecschericia coli

Tabung

| Konsentrasi (%) | Gambar |
| --- | --- |
| 60 |  |
| 30 |  |
| 15 |  |
| 7,5 |  |
| 3,725 |  |
| Kontrol (+) |  |
| Kontrol (–) |  |

Petri disk

Bakteri Stapylococus aureus

Tabung

| Konsentrasi (%) | Gambar |
| --- | --- |
| 60 |  |
| 30 |  |
| 15 |  |
| 7,5 |  |
| 3,725 |  |
| Kontrol (+) |  |
| Kontrol (–) |  |

Petri disk

Lampiran 6. Hasil Uji Difusi

Bakteri Ecschericia coli

Bakteri Stapylococus aureus

Lampiran 7. Hasil GC Minyak Atsiri Fuli Pala

Lampiran 8. Hasil MS Senyawa Minyak Atsiri Fuli Pala

α-pinen

Sabinen

2-β-pinen

Miristisin