THE EFFECT OF ZrO2 (Zirconium Dioxide) NANOPARTICLES CONCENTRATIONS AS FILLER ON HEAT CURED ACRYLIC RESIN DENTURE BASE TOWARD VIABILITY OF FIBROBLAST CELLS (IN VITRO STUDY)

Rudy S*, Endang Wahyuningtyas**, Titik Ismiyati**

*Prosthodontic Study Program, Specialist Education Program Of Dentistry, Faculty Of Dentistry, Gadjah Mada University, Yogyakarta, Indonesia

**Prosthodontic Department, Faculty Of Dentistry, Gadjah Mada University, Yogyakarta, Indonesia

Jl Denta No. 1 Sekip Utara, Yogyakarta, Indonesia; e-mail: rudi_kaka8@yahoo.com

ABSTRAK

Heat cured acrylic resin is the most commonly used denture base materials.  Zirconium dioxide (ZrO2) nanoparticles can be applied as additional filler to increase mechanical strength and to reduce the amount of residual monomer. The aim of this research is to analyze the effect of ZrO2 nanoparticles concentrations as filler on heat cured acrylic resin denture base toward viability of fibroblast cells.

Twenty four disc-shaped heat cured acrylic resin plate (diameter 5 mm; width 2 mm), were divided into 4 groups (n=6), they were consisted of group I control (acrylic resin), group II acrylic resin with 2.5% ZrO2, group III acrylic resin with 5% ZrO2, and group IV acrylic resin with 7.5% ZrO2. Cell viability was obtained using MTT assay and ELISA plate reader. The result is examined with one way ANOVA followed by LSD post hoc assessment.

The result showed highest cell viability percentage on experimental group of 2.5% ZrO2 with value as high as 97.49%. One way ANOVA test and LSD post hoc test showed a significant difference between groups (p<0.05). The conclusion of this research is ZrO2 nanoparticles concentration utilized as filler on heat cured acrylic resin denture base is effect to viability of fibroblast cells, and ZrO2 nanoparticles 2.5% shows the highest viability of fibroblast cell compared to 5% and 7.5% ZrO2 nanoparticles concentrations

Key words: zirconium dioxide nanoparticles, filler, acrylic resin, viability, fibroblast

PENDAHULUAN

Tooth loss is the main reason for patients who need denture because it will affect their appearance. One of the tooth loss effects is interfere the nutrition intake which lead the systemic problems. Tooth loss should be replaced immediately to maintain the function of mastication, phonetic, and esthetic.1

Denture is a prothese to replace one or more teeth loss which is supported by the sound teeth, oral mucosa, or combination of teeth and mucosa.2 The purpose of denture wearing is restoring mastication, phonetic, esthetic function, and maintaining tissue health to prevent further injury of oral structure.3

Acrylic resin is a polymer chain which is consisted of methyl methacrylate units. Acrylic resin is a material choice for removable denture fabrication.4 The widely used acyrlic resin in the denture fabrication is heat-cured acrylic resin. The usage of acrylic resin as denture base is reached more than 98%.5 In general, acrlyic resin has a good esthetic result, precision, good stability in the oral environment, easy to fabricate and adjust, economic, and repairable.6,7 But, acrylic resin has disadvantages such as produce residual monomers which have cytotoxic effect to surrounding tissue and low mechanical properties which lead to fracture of denture base.8

Filler is material which has role in mechanical strength of resin material. Filler volume affects the strength of resin material. The greater filler volume, the resin material strength will increase, but fracture may still occur.9 Therefore, in purpose to increase the mechanical properties of resin material, filler must be modified.10

Zirconium dioxide (ZrO2) is metal oxide which widely used to increase the strength of denture base, because it has great mechanical strength and good surface properties.11 The addition of ZrO2 nanoparticles with different concentration 2.5%, 5%, and 7.5% on PMMA  in sequence increases the flexural strength transvers strength, and thermal stability significantly.12,13

Nanoparticle is particle which have average diameter and dimension around 10-9m. The small size of nanoparticle makes nanoparticle has special physical, chemical, mechanical, electrical, and magnetic properties like free to infiltrate the cell.14 The underlying mechanism of nanoparticles material cytotoxicity is Reactive Oxygen Species (ROS) formation. Formation of ROS in massive amount will induce oxidative stress which may lead the cell failure in maintaining normal physiologic function. Oxidative stress may lead the celullar component failure and cell death.15 Injection of 50% and 100% ZrO2  nanoparticles into intraperitoneal of rats showed that ZrO2 play a major role in increasing of Reacitve Oxygen Species (ROS) which is induced the free radicals alternately. Free radicals may cause cell injury of the rats’ liver dan kidney.14

Acrylic denture base must be fulfill the biocompatibility requirements because it contacts the oral mucosa in a long time.9 Several metals that have been studied and known to be tolerated by humans are Fe, Mn, Cr, Ni, Mo, Ag, Ti and Al in predetermined concentrations.16 In addition to metals, local hydroxyapatite and chicken scrath collagen has been studied with result it does not cause acute toxicity in fibroblast cell cultures and encourages the growth of fibroblasts, besides it also does not cause systemic toxicity to liver cell and kidney cells.17

Ideally, the denture base is not cytotoxic. Cytotoxicity test of material is intended to see the potency of material to injure the cell by measure the cell viability percentage.9 In vitro test is needed to measure the cell viability.5 The most common viability test that used in dentistry is using fibroblast cell.18 The aim of this research is to review the concentration effect of Zirconium dioxide (ZrO2) as a filler in the heat-cured resin acrylic denture base to fibroblast cell viability.

MATERIAL AND METHODS

This research is experimental laboratory research with 24 subjects of disc-shaped heat-cured acrylic resin with 5 mm diameter and 2 mm height. The specimens were divided into 4 groups (n=6), control group (heat-cured acrylic resin), group of heat-cured acrylic resin which added with 2.5% ZrO2 nanoparticle filler, group of heat-cured acrylic resin which added with 5% ZrO2 nanoparticle filler, group of heat-cured acrylic resin which added with 7.5% ZrO2 nanoparticle filler.

Materials which is used in this research were heat-cured acrylic resin (QC-20, Dentsply), ZrO2 nanoparticles (Hongwu International Group LTD), silane (Ultradent Silane, Fondaco), M199 as a cell culture media and fibroblast cell culture (vero cell line). The used instruments in this research are digital scale, measuring cylinder, magnetic stirrer, 96 wells microplate to test the cell viability, and ELISA reader Bio-rad to read optical density.

Silane was applied on ZrO2 nanoparticles as much as 1% of filler weigh using magnetic stirrer for 20 minutes, then using sonicator for 30 minutes. Then let it dry for 14 days in the room temperature.19 Silane treated ZrO2 nanoparticles were mixed with acrylic resin polymer powder according to the concentration group. They were mixed using vortex mixer for 20 minutes to get homogen nanoparticles distribution on the acrylic resin.

Table 1. Composition of silane application on the ZrO2 nanoparticles

| Groups | ZrO2 (g) | Silane (g) | Silane (ml) |
| --- | --- | --- | --- |
| I Control | 0 | 0 | 0 |
| II ZrO2 2.5% | 1.25 | 0.0125 | 0.01 |
| III ZrO2 5% | 2.5 | 0.025 | 0.018 |
| IV ZrO2 7.5% | 3.75 | 0.0375 | 0.028 |

Table 2. Composition of polymer, monomer and ZrO2 nanoparticles

| Groups | Polymer (g) | Monomer (g) | Monomer (ml) | ZrO2 (g) |
| --- | --- | --- | --- | --- |
| I Control | 50 | 21.7 | 23 | 0 |
| II ZrO2 2.5% | 48.75 | 21.7 | 23 | 1.25 |
| III ZrO2 5% | 47.5 | 21.7 | 23 | 2.5 |
| IV ZrO2 7.5% | 46.25 | 21.7 | 23 | 3.75 |

Acrylic resin specimens were made with packing standard procedure and heat-cured acrylic resin polymerization QC-20 (Dentsply) using conventional water bath technique, then the specimens were isolated and prepared to vero cell culture. The viable cells were counted under the binocular microscope with 10x magnification. After that, the viable cells were diluted into suspension with cell density 2x104 cells/100 μL.20 Cultured cells were incubated for 24 hours, and each acrylic resin samples in the wells were incubated for 24 hours.21,22 Culture media was thrown and all samples were taken out from the wells. 100 µL  MTT solution were put in each well, then incubated for 4 hours on 37oC . After that, 100 µL SDS-HCl were added. Microplate was positioned into ELISA plate reader with 550 nm wavelength. Value of OD (Optical Density) was obtained from the counting of the viable fibroblas cells amount. Cells viability were counted with this formula :

Treated groups OD – media OD

X 100

Control OD – media OD

The obtained data is ratio data with normal distribution, and homogenous data variance, then parametric test was done. The chosen parametric test is one-way ANOVA with significant level 95%. The ANOVA result showed that there was significant difference among the groups (p<0.05). Post Hoc LSD test result showed that there was significant difference in each groups (p<0.05).

RESULT

Mean and standard deviation of the fibroblast cells viability after exposure of ZrO2 2.5%, 5% and 7.5% on the acrylic resin plate can be seen on Table 3.

Table 3. Mean and standard deviation fibroblast cells viability (%) after exposure of ZrO2 2.5%, 5% and 7.5% on the acrylic resin plate

| Groups | Mean ± SD |
| --- | --- |
| Control (acrylic resin) | 86.15±2.03 |
| Acrylic resin + ZrO2 2.5% | 97.49±1.45 |
| Acrylic resin + ZrO2 5% | 92.67±1.58 |
| Acrylic resin + ZrO2 7.5% | 90.27±2.51 |

Table 3 showed that the highest mean of cells viability was obtained on group of ZrO2 nanoparticles with 2.5% concentration by 97.49±1,45 and the lowest cels viability on control group  86.15±2.03.

According to mean results of fibroblast cells viability on Table 3, group of acrylic resin with ZrO2 2.5%, 5%, and 7,5% concentration can be included in no cytotoxic category because the viable cells are more than 90%, otherwise control group is categorized in mild cytotoxic category because the viable cells are around 60-90%.23 According to ISO 10993-5 (2009), all research group (control group, acrylic resin with ZrO2 nanoparticles 2.5%, 5%, and 7.5%) were categorized in no cytotoxic category because the viable cells are more than 70%.21

Normality test using Saphiro-Wilk showed that the significance level more than 0.05 (p>0.05) which mean the data was normally distributed. The result homogenity test  using Levene test is p=0.640 (p>0.05) then can be concluded that the data variance is homogenous.

According the both tests results, the data is qualified to be tested on parametric test. Parametric test that used in this research was one-way ANOVA. One-way ANOVA test results showed that there was significance difference between control groups, acrylic resin  ZrO2 nanoparticles 2.5%, 5%, 7.5% groups. LSD post hoc test was daone to know the difference of fibroblast cells viability mean that  influenced by ZrO2 nanoparticles concentration.

LSD post hoc test result showed that there was fibroblast cells viability among the groups, control groups with acrylic resin + ZrO2 2.5%, 5%, and 7.5%; acrylic resin + ZrO2 5%, with acrylic resin ZrO2 5% and 7.5%; acrylic resin + ZrO2 5% and 7.5%; acrylic resin +ZrO2 5% with acrylic resin + ZrO2 7.5% (p<0.05).

DISCUSSION

The research of the effect of ZrO2 (zirconium dioxide) nanoparticles concentrations as filler on heat cured acrylic resin denture base toward viability of fibroblast cells showed that the highest percentage fibroblast cells viability on 2.5% concentration treated group with mean 97.49% because the addition of ZrO2 nanoparticles with lower concentration will obtain more homogenous acrylic resin structure24 and faster polymerization,25 then produces lower residual monomer.24,25 Residual monomer is a factor that influence the cells viability.26 Lower ZrO2 nanoparticles concentration made a softer surface of acrylic resin,27 then cell response is better, cells proliferation and adhesion, and fibroblast cells viability are increasing.28 Besides that,  silane as a coupling agent influences the escalation of fibroblast cells viability because silane has a good biocompatibility.29

The lowest cells viability percentage was seen on control group (acrylic resin) with mean 86.15%, this showed that the control group is more cytotoxic than acrylic resin group with addition of filler ZrO2 nanoparticles 2.5%, 5%, 7.5%. This result is caused by the residual monomer that influences the fibroblast cells viability.30

One-way ANOVA and LSD post hoc tests showed that there was a significance difference (p<0.05) between control group, acrylic resin groups with ZrO2 nanoparticles  concentration 2.5%, 5%, and 7.5%. It may be caused by the difference of ZrO2 nanoparticles concentration that is added in acrylic resin denture base. The greater concentration of nanoparticles in the suspension, then the viability of cells is lower.14 The greater nanoparticle concentration, the distance between nanoparticles is smaller, so that the nanoparticles will interact each other. The interaction of nanoparticles will lead the nanoparticles aglomeration and unhomogenous mixture of polymer, monomer, and ZrO2 nanoparticles is bigger, so the polymerization process is decreased and the monomer amount is increased.31 The increased concentration of ZrO2 nanoparticles is related to acrylic resin surface roughness, as the concentration of ZrO2 is increased, the surface roughness of acrylic resin is increased.27 Residual monomer and the rough acrylic resin surface will decrease the fibroblast cells viability.26,28

The highest viability cells was found on ZrO2 (zirconium dioxide) nanoparticles 2,5% as acrylic resin denture base filler. The low concentration of nanoparticles make polymerization is faster, so the residual monomer is lower, acrylic resin structure is more homogenous, and the acrylic resin surface is smoother

CONCLUSION

Zirconium dioxide (ZrO2) nanoparticles concentration utilized as filler on heat cured acrylic resin denture base is effect to viability of fibroblast cells, and ZrO2 nanoparticles 2.5% shows the highest viability of fibroblast cell compared to 5% and 7.5% ZrO2 nanoparticles concentrations

REFERENCES

- Khalifa, N., Allen, P.F., Abu Bakar Nh., Abdel Rahman, M.E., Factor Associated with Tooth Loss and Prosthodontics Status Among Sudanese Aduts, Journal of Science, 2012, 54 (4): 303-12.

- Loney, R.W., Removable Partial Denture Manual, Dalhousie University, Halifax, 2011, p:1-3.

- Tarigan, S., Pasien Prostodonsia Usia Lanjut : Beberapa Pertimbangan Dalam Perawatan, Pidato Pengukuhan Guru Besar, Universitas Sumatera Utara , Medan, 2005, p:23.

- Mc Cabe, J.F., dan Walls, A.W.G., Applied Detal Material, 9th ed, Blackwell Publishing, Oxford, 2008, p: 5-31, 40, 99, 101-9,110-23.

- Sakaguchi, R.L., dan Powers, J.M., Craigs Restorative Dental Material, 13th Ed. Philadelphia, Mosby Elsevier Inc., 2012, p:191-2, 327-48.

- Meng, T.R., Latta, M.A., Physical Properties of Four Acrylic Denture Base Resins, J Contemp Dent Pract, 2005, 6(4):93–100.

- Craig, R.G., Restorative Dental Materials, 11th ed, New York: Churchill Livingstone Edinburg, 2002, p: 25-195.

- Raszewski, Z., Nowakowska, D., Mechanical Properties of Heat Curing Acrylic Resin After Reinforced with Different Kinds of Fibers, Int J Biomed Mat Res., 2013, 1:9–13.

- Anusavice, K.J., Shen, C., Rawls, H.R., Phillips Science of Dental Materials, 12th ed. Elsevier, St. Louis, 2013, p: 94, 165-66, 493-4, 721-35.

- Raharjo, P., Rukmo, M., Rulianto, M., Evaluasi Klinis Satu Tahun pada Tumpatan Resin Komposit Kelas VI, Maj. Ked. Gigi (Dent. J.), 2002, Vol. 35. No.1, Surabaya, p: 11-3.

- Asar, N.V., Albayrak, H., Korkmaz, T., Turkyilmaz, I., Influence of Various Metal Oxides on Mechanical and Physical Properties of Heat-cured Polymethyl Methacrylate Denture Base Resins, J Adv Prosthodont, 2013, 5(3):241–47.

- Gad, M.M., Rahoma, A., Al-Thobity, A.M., Arrejaie, A.S., Influence of Incorporation of ZrO2 Nanoparticles on the Repair Strength of Polymethyl Methacrylate Denture Bases, Int J Nanomed, 2016, 11: 5634.

- Otsuka, T., Chujo, Y., Poly(methyl methacrylate) (PMMA)-based Hybrid Materials with Reactive Zirconium Oxide Nanocrystals, Polymer Journal, Japan, 2010, (42) p:58-65.

- Arefian, Z., Pishbin, F., Negahdary, M., Ajdary, M., Potential Oxic Effects of Zirconia Oxide Nanoparticles on Liver and Kidney Factors, Biomedical Research, 2015, 26(1):89-97.

- Fu, P.F., Xia, Q., Hwang, H.M., Ray P.C., dan Yu H., Mechanisms of Nanotoxicity: Generation of Reactive Oxygen Species, JFDA, 2014, Vol. 22 No.1, p: 64-75.

- Shi, D.L., Introduction to Biomaterial, Tsinghua University Press, Beijing, 2006, p:59.

- Wahyuningtyas, E., Siswomihardjo, W., Marsetyawan, H.N.E., Sugiatno, E., The Influence of Chicken Scrath Collagen With Local  Hydroxyapatite as Bone Substitute  Material Toward The Bone Remodelling of Rattus Sprague Dawley, Disertasi, Faculty of dentistry Gadjah Mada University, Yogyakarta, 2016.

- Schamlz, G., Use of Cell Cultures for Toxicity Testing of Dental Materials: Advantages and Limitations, J Dent Sci, 1994, 22: 6-11.

- Shin-etsu, Silane Coupling Agent, Shin-Etsu Chemical Co., Ltd., Tokyo, Japan, 2017, p. 1-28.

- Ammerman, N.C., Beier Sexton, M., Azad, A.F., Growth and Maintenance of Vero Cell Lines, Curr.Protoc.Microbiol, 2008, p: 1-7.

- ISO 10993-5, Biological Evaluation Of Medical Devices-Part 5: Tests for In Vitro Cytotoxicity, International Organization for Standarization, Geneva, 2009, p: 30-4.

- Ahuja, S., Babu, J., Wicks, R., Garcia-Godoy, F.G., Tipton, D., Cytotoxic Effects of Three Denture Base Materials on Gingival Epithelial Cells and Fibroblasts: an in Vitro Study, Int J Exp Dent Sci, 2015, 4(1):11-16.

- Brunner, T.J., Wick, P., Manser, P., Spohn, P., Grass, R.N., Limbach, L.K., Bruinink, A., and Stark, W.J., In Vitro Cytotoxicity of Oxide Nanoparticles: Comparation to Asbestos, Silica, and The Effect of Particle Solubility, Environ Sci Technol, 2006, 40 : 4374 -81.

- Zhang, X.Y., Zhang, X.J., Huang, Z.L., Zhu, B.S., Chen, R.R., Hybrid Effects of Zirconia Nanoparticles with Aluminium Borate Whiskers on Mechanical Properties of Denture Base Resin PMMA, DMJ, 2014, 33(1):141-146.

- Marcelo, G., Bruna, Z., Amalia, M., Aljomar, V,F., Marcela, P., Micheline, S,D., Effect of Nanoscale Particles Incorporation on Microhardness of Polymers for Oral Prosthesis, Contemp Clin Dent, 2016, Vol.7, Iss.3, p:1-6.

- Saravi, M.E., Evaluation of Cellular Toxicity of Three Denture Base Acrylic Resins, Journal of Dentistry, Tehran University of Medical Sciences, Tehran, Iran, 2012, Vol. 9(4):180-8.

- Vojdani, M., Bagheri, R., Khaledi, A.A.R., Effect of Aluminum Oxide Addition on the Flexural Strength, Surface Hardness, and Roughness of Heat-polymerized Acrylic Resin, JDS, Elsevier, 2012, p:238-244.

- Takamori, E.R., Cruz, R., Goncalves, F., Zanetti, R.V., Zanetti, A., Granjeiro, J.M., Effect of Roughness of Zirconia and Titanium on Fibroblast Adhesion, Artif Organs Journal, Blackwell Publishing, 2008, 32(4):305-309.

- Yuan , B., Chen, Q., Ding, W.Q., Liu, P.S., Wu, S.C., Shen, J., Gai, Y., Copolymer Coatings Consisting of 2-methacryloyloxyethyl phosphorylcholine and 3-methacryloxypropyl trimethoxysilane via ATRP to Improve Cellulose Biocompatibility, Journal ACS applied material and interfaces, 2012, Vol. 4, p: 4031-39.

- Bural C., Aktas E., Deniz G., Gulsen B., Effect of Leaching Residual Methyl Methacrylate Concentrations on in Vitro Cytotoxicity of Heat Polymerized Denture Base Acrylic Resin Processed with Different Polymerization Cycles, J Appl Oral Sci, 2011, 19(4): 306-12.

- Chen, R., Han, Z., Huang, Z., Karki, J., Wang, C., Zu, B., Zhang, X., Antibacterial Activity, Cytotoxicity and Mechanical Behavior of Nano- enhanced Denture Base Resin with Different Kinds of Inorganic Antibacterial Agents, Dent Mater J, 2017, 36(6):693-99.